## EED Data
Response deadline: 31 March 2026
Operator name: | Etix Everywhere Holding France
Contact name: | Margaux Plantive-Triger
Data center operators and cloud service providers with installed IT power demand of between 100 and 500 kW and a turnover in France of less than €10 million excluding tax must only provide the indicators designated in yellow (column A).
Other data center operators and cloud service providers must fill in all the indicators in the questionnaire.
Category | Indicator | Total | Data center no. 1 | Data center no. 2 | Data center no. 3 | Data center no. 4 | Data center no. 5 | Data center no. 6 | Data center no. 7 | Data center no. 8 | Data center no. 9 | Data center no. 10 | Data center no. 11 | Data center no. 12
General information | Data center name |  | Etix Nantes#1 | Etix Vendée#1 | Etix Montpellier#1 | Etix Toulouse#1 | Etix Lyon#1 | Etix Lille#1 | Etix Lille#2 | Etix Lille#3 | Etix Nantes#2 | Etix Nantes#3 | Etix Paris#1 | Etix Paris#3
| Municipality where the data center is located |  | Saint-Herblain | La-Roche-sur-Yon | Montpellier | Balma | Lyon | Tourcoing | Sainghain en melentois | Anzin | Carquefou | Coueron | Paris | Velizy
Type of data center
| Data center entry into operation (MM - YYYY) |  | 2009-04-01 | 2013-02-01 | 2000-01-01 | 2011-01-01 | 1999-01-01 | 2016/09 | 2010 | 2016 | 2018 | 2019 mais achat 2022 | 2004 | 2018
| Redundancy level of the electrical infrastructure at high voltage / low voltage (coupling) / rack level |  | N+1, Free-cooling | 2N distributed, Free-cooling | 2N, Free-cooling | 2N, Free-cooling | 2N, Free-cooling | 2N distributed (3 sources), Free-cooling | 2N distributed (3 sources), Free-cooling | 2N distributed (3 sources), Free-cooling | 2N distributed, Free-cooling | 2N | N+1 Catcher, Free-cooling | N+1 Catcher, Free-cooling
Floor area and electrical grid | of which floor area of rooms occupied by IT equipment (m²) |  | 330 | 300 | 206.6 | 485 | 250 | 480 | 1120 | 1440 | 756 | 900 | 800 | 2600
Electrical grid functions